Analysis of RDK II Data
Collaboration Meeting
March 14, 2012

---
Outline
- Signal analysis
- Event selection
- Background subtraction
- Results

---
Signal Analysis – Criteria
- The peak
  - rises at least 300 units above the minimum
  - is after the minimum
  - is at least 5.12μs before end of trace
  - is at least 6.4μs (bAPD) or 7.68μs (BGO) after beginning of trace
  - is less than 300 units away from the average of neighboring points (same for minimum)
- Minimum chi2/dof of linear regression over signal at least 4900
μs
Voltage (arbitrary units)

---
Signal Analysis – Baseline
- Linear regression on the range 0≤t≤i for all i
- Calculate Ax+B and chi2 for each fit
- Save the results for later
μs
Voltage (arbitrary units)

---
Signal Analysis - Smoothing
- Weighted sum derived from local polynomial regression method
  - Narrow width for timing
  - Wide width for “energy”
μs
Voltage (arbitrary units)

---
Signal Analysis – Parameters
- Determine tγ and Eγ
  - Floating baseline
  - Max above baseline
  - Rise 10% of peak above baseline
μs
Voltage (arbitrary units)

---
Signal Analysis – Parameters
- Start at peak
- Use stored fits
- Trace back until chi2/dof<7000
- Trace back until smoothed < 10% of peak
μs
Voltage (arbitrary units)

---
Signal Analysis - SBD
- Electron time and “energy” from peak channel
- Proton time and “energy” from next highest peak after electron peak reaches a dip
- Subtract average baseline from energies
μs
Voltage (arbitrary units)

---
Event Selection
- Only one explicit criteria for ep events
  tp-te<26μs
- Criteria to look into
  - End of electron signal, tdip
  - 50% fall time, thalf

---
Background Subtraction - BGO

---
Background Subtraction - bAPD

---
Results - BGO
Normalized by bin size (2keV)

---
Results - bAPD
Normalized by bin size (0.25keV)

---
Results
- Ratio epg/ep
  - BGO
  (1.129±0.010) · 10-4
  - bAPD
  (8.811±0.257) · 10-5