## Slide 1: RDK II Analysis

## Slide 2: RDK II Analysis
EP channel
Photon channels
Results

## Slide 3: EP channel
Electron
  Highest peak within the first 36μs
  Ee = height of electron peak
  te = time of the highest point in the electron peak
Proton
  Highest peak between 1.2μs and 41μs after the te
  Ep = height of proton peak
  tp = time of the highest point in the proton peak
Correct for signal drift

## Slide 4: EP channel

## Slide 5: Photon channels

## Slide 6: Photon channels
Fit function
  A+Be-C(x-T)(1-e-D(x-T))
  A = signal drift
  B = intensity
  C = fall time of the signal
  D = rise time of the signal
  E = height of the maximum of the signal above A

## Slide 7: Photon channels
“A” algorithm
  Calculate σ2 for the regions between 0 and x in 5.12μs steps
  If σx+ 5.12μs is more than 10% greater than σx
    The range from 0 to x is flat
    A = avg. signal strength from 0 to x

## Slide 8: Photon channels
“T” algorithm
  Signal strength
    Weak: max-min<threshold=1400
    Strong: max-min>1.5 threshold=2100
    Normal: everything else
  Trace signal from maximum to the start
    Weak: threshold = A
    Normal: threshold = A+σflat
    Strong: threshold = A+2σflat
    Trace backwards until the signal drops below threshold for 80ns and no more than 80 of the next 120ns are above threshold

## Slide 9: Photon channels
Fit algorithm
  On the region from T to end of signal
  Linear regression
    f = A+Bz
    z = e-C(x-T)(1-e-D(x-T))
    A, C and D are fixed

## Slide 10: Photon channels
Fit algorithm
  Non-linear regression
    f = A+Be-C(x-T)(1-e-D(x-T))
    A and B are fixed

## Slide 11: Photon channels
Fit algorithm
  Linear and non-linear regressions done simultaneously
  Apply the changes of C and D as determined by non-linear regression
  Recalculate the regressions
  If the change in χ2 is greater than 0.1% then repeat
  Maximum of 100 repetitions

## Slide 12: Photon channels

## Slide 13: Photon channels

## Slide 14: Photon channels

## Slide 15: Photon channels

## Slide 16: Photon channels

## Slide 17: Photon channels

## Slide 18: Results
From runs 104-106 and 108
All at 1400V mirror

## Slide 19: Results Electron energy

## Slide 20: Results Electron time of flight

## Slide 21: Results Proton energy

## Slide 22: Results Proton time of flight

## Slide 23: Results Photon energy – full range

## Slide 24: Results Signal to noise ratio on γ channels

## Slide 25: Results Photon energy – low energy

## Slide 26: Results Photon time of flight

## Slide 27: Results Photon time of flight close-up

## Slide 28: Results Some actual numbers
My analysis – without background corrections
Jeff’s analysis – with background corrections